## Sheet1
Speech Masking Calculator
Presentation level (dB HL) – 40 (IA) + air bone gap in non-test ear + 10 + calibration factor.
| Presentation Level | 80
| Air Bone Gap in Non test ear | 0
| Interaural Attenuation | 60 | ( Defaults to 40dB for headphones - change to 60dB if using inserts)
| Calibration Factor | 0 | Calibration Factor is 0 for Aurical and 10dB for audiometers using 4 talker babble
Masking Level in NTE = | 30
Overmasking rules (Potter Method):
| Air Bone Gap Ear 1 | 0 | Headphone Masking OK if C15 ≤50
| Air Bone Gap Ear 2 | 22 | Insert Masking OK if C15 >50<90
| Use this number to determine overmasking | 22 | Overmasking if C15 >90